{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["Input","Output","Background","Release Notes"],"not_rendered":{"charts":3,"images":2,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Input","index":0,"n_rows":326,"n_cols":6,"rows_kept":326,"cut":false,"hidden":false,"merged":[[18,1,18,5],[23,1,23,4],[13,1,13,2],[12,1,12,2],[11,1,11,4]]}
[]
[]
[]
[]
["Calculates the Fractional Effective Dose"]
[]
[]
[]
[]
[]
[]
[null,"Input Data"]
[null,"Time step =",null,0.1,"sec"]
[null,"Hypoxia threshold =",null,20.9,"%"]
[]
[]
[]
[]
[null,"Integral (see Output sheet for details)"]
[null,"Time\n(seconds)","FEDCO","FEDCO2","FEDO2","FED"]
[null,30.014227000000002,4.0123272873139645E-2,3.3328298717278377,3.8148038737011544E-2,0.16216935828244186]
[]
[]
[null,"Input Data"]
[null,"Time\n(seconds)","XCO\n(vol frac)","XCO2\n(vol frac)","XO2\n(vol frac)"]
[null,0,0,3.8685557000000002E-4,0.20779717]
[null,0.18257419,0,3.8685557000000002E-4,0.20779717]
[null,0.36514837,0,3.8685557000000002E-4,0.20779717]
[null,0.54772255999999997,0,3.8685557000000002E-4,0.20779717]
[null,0.73029674,0,3.8685557000000002E-4,0.20779717]
[null,0.87987932000000002,0,3.8685557000000002E-4,0.20779717]
[null,0.96116323000000004,2.7014294999999998E-26,3.8685557000000002E-4,0.20779717]
[null,1.0222850999999999,1.2057348999999999E-25,3.8685557000000002E-4,0.20779717]
[null,1.0761968,7.8510218000000004E-25,3.8685557000000002E-4,0.20779717]
[null,1.1236975,6.0289838999999998E-24,3.8685557000000002E-4,0.20779717]
[null,1.1711982000000001,2.0247816999999999E-23,3.8685557000000002E-4,0.20779717]
[null,1.2186988000000001,5.0101013999999997E-23,3.8685557000000002E-4,0.20779717]
[null,1.2661994999999999,1.1468204000000001E-22,3.8685557000000002E-4,0.20779717]
[null,1.3137002,3.8163450000000002E-22,3.8685557000000002E-4,0.20779717]
[null,1.4235144,3.6419070000000003E-21,3.8685557000000002E-4,0.20779717]
[null,1.5247594,4.7836753000000002E-20,3.8685557000000002E-4,0.20779717]
[null,1.6053317,1.1553899000000001E-16,3.8685557000000002E-4,0.20779717]
[null,1.7063663,3.7577121999999998E-13,3.8685557000000002E-4,0.20779717]
[null,1.8010058,1.2815030000000001E-10,3.8685838999999997E-4,0.20779717]
[null,1.9240371999999999,6.3695829000000005E-8,3.8825962000000003E-4,0.20779470999999999]
[null,2.0101827999999999,1.0389891E-6,4.0975821E-4,0.20775716]
[null,2.111291,3.4392556000000001E-6,4.6266778000000002E-4,0.20766470000000001]
[null,2.2135387999999998,2.6230229000000001E-5,9.6505310000000004E-4,0.20678637999999999]
[null,2.3025291000000001,5.2723910999999998E-4,1.2008776000000001E-2,0.18742391]
[null,2.4067986000000001,1.0387388E-3,2.3283845000000001E-2,0.16771001999999999]
[null,2.5023789000000001,1.4353212000000001E-3,3.2025188000000003E-2,0.15210900999999999]
[null,2.6170753000000002,2.1047817999999999E-3,4.6782084000000002E-2,0.12623437000000001]
[null,2.7126556000000002,1.2622947E-3,2.8211663000000001E-2,0.15906000000000001]
[null,2.8014326999999999,8.6081923999999999E-4,1.9362030999999998E-2,0.17461692000000001]
[null,2.9038908999999999,1.9435964E-3,4.3229040000000003E-2,0.13244142]
[null,3.0179776999999999,2.3826339999999998E-3,5.2907057E-2,0.11565018000000001]
[null,3.1130499999999999,1.0081669999999999E-3,2.2610048000000001E-2,0.16894081]
[null,3.2129761000000001,1.1825878E-3,2.6454302999999998E-2,0.16193481000000001]
[null,3.3149247000000002,1.9246648E-3,4.2812022999999998E-2,0.13333127]
[null,3.4039275,1.2527886999999999E-3,2.8002188000000001E-2,0.1594622]
[null,3.5002336000000001,1.2743672000000001E-3,2.847798E-2,0.15870223999999999]
[null,3.6022908999999999,1.5909952000000001E-3,3.5457469999999998E-2,0.14650188]
[null,3.7059182000000002,2.2558909999999999E-3,5.0113275999999998E-2,0.12055381]
[null,3.8112727,2.4287568000000001E-3,5.3923725999999998E-2,0.11385827]
[null,3.9062644,2.4746661E-3,5.4935778999999997E-2,0.11212753]
[null,4.0012562000000003,2.0982735000000001E-3,4.6639025000000001E-2,0.12670129999999999]
[null,4.1152462999999999,1.5486635E-3,3.4524119999999998E-2,0.14801301]
[null,4.2102380000000004,1.087841E-3,2.4366261E-2,0.16584212000000001]
[null,4.3052296999999999,8.9205795999999999E-4,2.0050631999999999E-2,0.17341411000000001]
[null,4.4040211999999999,7.9977710000000003E-4,1.8016474000000001E-2,0.17697321999999999]
[null,4.5085120999999999,1.3457215E-3,3.0050406000000002E-2,0.15571128000000001]
[null,4.613003,2.579568E-3,5.7247322000000003E-2,0.10763871999999999]
[null,4.7174939,2.7983207000000002E-3,6.2069718000000003E-2,9.9420554999999994E-2]
[null,4.8010865999999996,2.1352418999999998E-3,4.7454160000000002E-2,0.12540388]
[null,4.9139368000000001,1.709321E-3,3.8065533999999998E-2,0.14182796]
[null,5.0058888000000001,1.4380147000000001E-3,3.2085083E-2,0.15228488000000001]
[null,5.1208288,1.2551495000000001E-3,2.8054241000000001E-2,0.15937762]
[null,5.2041012999999996,1.9802051000000001E-3,4.4036671999999999E-2,0.13138695]
[null,5.3045754000000001,2.4247436999999998E-3,5.3834405000000002E-2,0.11355124]
[null,5.4090685000000001,2.7769320000000002E-3,6.1598562000000003E-2,0.10041595]
[null,5.51959,2.6207853000000001E-3,5.8156977999999998E-2,0.10663988000000001]
[null,5.6080072999999997,2.4170119E-3,5.3665280000000003E-2,0.11455423000000001]
[null,5.7160377999999996,2.1342755999999999E-3,4.7432742999999999E-2,0.12537764000000001]
[null,5.8180268999999996,1.9365557E-3,4.3074451E-2,0.13304253999999999]
[null,5.9043254000000003,1.5470325E-3,3.4488127E-2,0.14805325999999999]
[null,6.0121985999999996,1.6693786E-3,3.7184913E-2,0.14327955000000001]
[null,6.1200716999999996,1.6720242999999999E-3,3.7243295000000003E-2,0.14321213999999999]
[null,6.2159462000000003,1.0522308E-3,2.3581376000000001E-2,0.16725498]
[null,6.3118207999999996,9.3143841000000002E-4,2.0918768000000001E-2,0.17193152]
[null,6.4102161000000004,9.2249700999999995E-4,2.0721676000000001E-2,0.17227927000000001]
[null,6.5065084999999998,1.2244167999999999E-3,2.7376828999999998E-2,0.16058059]
[null,6.6083562000000002,1.0958344999999999E-3,2.4542527000000001E-2,0.16556783]
[null,6.7142778999999999,1.0472687000000001E-3,2.3471991000000001E-2,0.16744421000000001]
[null,6.8039038999999999,1.1892938E-3,2.6602629999999999E-2,0.16194674000000001]
[null,6.9159363999999997,1.1254940000000001E-3,2.5196343999999999E-2,0.16443883000000001]
[null,7.0055623999999996,1.3317642999999999E-3,2.9743195E-2,0.15649067999999999]
[null,7.1220762999999998,1.665159E-3,3.7092209000000001E-2,0.14360856999999999]
[null,7.2092476999999997,2.1232686E-3,4.7190085E-2,0.12578735999999999]
[null,7.3155389,2.3481500999999998E-3,5.2147436999999998E-2,0.11725468999999999]
[null,7.4072411999999996,2.8611130999999998E-3,6.3453726000000002E-2,9.6928216999999997E-2]
[null,7.5218689999999997,3.4178508999999999E-3,7.5724720999999995E-2,7.4787922000000007E-2]
[null,7.6135712,3.0520295000000001E-3,6.7661434000000006E-2,8.9195117000000004E-2]
[null,7.7110747999999996,2.6390506000000002E-3,5.8559325000000002E-2,0.10578548]
[null,7.8117552000000003,2.0772846999999998E-3,4.6176489000000001E-2,0.12757777000000001]
[null,7.9181442000000004,2.3321141000000002E-3,5.1793624000000003E-2,0.11769585]
[null,8.0194010999999996,2.3362294000000001E-3,5.1883664000000003E-2,0.11717445]
[null,8.1064819999999997,2.3810418999999998E-3,5.2871770999999998E-2,0.11560715000000001]
[null,8.2178646000000004,2.3600392E-3,5.2408874000000001E-2,0.11645676000000001]
[null,8.3069705999999996,2.1971432E-3,4.8818386999999998E-2,0.12287186999999999]
[null,8.4183530999999991,1.5136109E-3,3.3751602999999998E-2,0.14944667]
[null,8.5074591999999996,1.5822154E-3,3.5263777000000003E-2,0.14675613000000001]
[null,8.6188417000000008,2.3634265999999998E-3,5.2483546999999998E-2,0.1163279]
[null,8.7101754000000007,2.9336798000000001E-3,6.5053910000000006E-2,9.4441548E-2]
[null,8.8081920999999994,3.0343903000000002E-3,6.7273899999999998E-2,9.0569489000000003E-2]
[null,8.9201279000000007,2.9740378E-3,6.5943241E-2,9.2733666000000006E-2]
[null,9.0075596000000004,3.1828185999999998E-3,7.0545010000000005E-2,8.4460720000000003E-2]
[null,9.1168492000000008,3.2886389999999999E-3,7.2876154999999998E-2,7.9593687999999996E-2]
[null,9.2130240000000008,2.8814543E-3,6.3900984999999993E-2,9.5537752000000004E-2]
[null,9.3091989000000002,2.1309575999999999E-3,4.7359470000000001E-2,0.12543541]
[null,9.4053737000000002,2.2069248000000001E-3,4.9034305E-2,0.12265598]
[null,9.5015485000000002,2.8307346999999999E-3,6.2784299000000002E-2,9.8209179999999993E-2]
[null,9.6241714999999992,2.5734083999999998E-3,5.7112556000000002E-2,0.10841998]
[null,9.7035157000000005,2.0465455E-3,4.5499212999999997E-2,0.12893103]
[null,9.8093079999999997,2.0344141E-3,4.5231874999999998E-2,0.12943843999999999]
[null,9.9096530999999999,2.6231626999999999E-3,5.8209485999999998E-2,0.10660337]
[null,10.004550999999999,3.2277168000000001E-3,7.1533859000000005E-2,8.2277722999999997E-2]
[null,10.123173,3.1076386E-3,6.8886414000000007E-2,8.6611189000000005E-2]
[null,10.218071,2.8910012999999999E-3,6.4111820999999999E-2,9.5378689000000003E-2]
[null,10.312969000000001,2.0430165000000001E-3,4.5421130999999997E-2,0.12890947]
[null,10.412611999999999,1.6580949E-3,3.6936535999999999E-2,0.14390475999999999]
[null,10.516999,1.70637E-3,3.8000628000000002E-2,0.14201999000000001]
[null,10.621387,1.7285283999999999E-3,3.8489102999999997E-2,0.14118479]
[null,10.725775000000001,2.0521847000000001E-3,4.5623548E-2,0.12873088999999999]
[null,10.804065,2.5191139000000002E-3,5.5915962999999999E-2,0.11063512]
[null,10.908453,2.7046427E-3,6.0005362999999999E-2,0.10335515000000001]
[null,11.012841,3.6678149E-3,8.1235773999999997E-2,6.5723293000000002E-2]
[null,11.117228000000001,3.4587018000000001E-3,7.6626495000000003E-2,7.3909126000000006E-2]
[null,11.221615999999999,3.0563577999999998E-3,6.7758000999999998E-2,8.9650221000000002E-2]
[null,11.326003999999999,2.7083025999999999E-3,6.0086212999999999E-2,0.10330797999999999]
[null,11.404294,2.3272419000000002E-3,5.1686562999999998E-2,0.11806406999999999]
[null,11.511291999999999,2.2490225E-3,4.9962468000000003E-2,0.12113924]
[null,11.626118,2.6048601000000001E-3,5.7805937000000002E-2,0.10725279]
[null,11.702705,2.5633215000000001E-3,5.6889321999999999E-2,0.10833184]
[null,11.804819999999999,2.4855160000000001E-3,5.5173248000000001E-2,0.11079617]
[null,11.912041,3.1562254000000001E-3,6.9958865999999995E-2,8.5517100999999998E-2]
[null,12.024368000000001,3.1811680999999999E-3,7.0509351999999997E-2,8.4912381999999995E-2]
[null,12.108613999999999,2.9677353000000001E-3,6.5804488999999994E-2,9.3070588999999995E-2]
[null,12.220941,2.5415962999999998E-3,5.6411210000000003E-2,0.10958699]
[null,12.305186000000001,2.2501716999999998E-3,4.9987584000000002E-2,0.12097926000000001]
[null,12.417513,2.4432193E-3,5.4243135999999997E-2,0.11362989]
[null,12.501758000000001,2.7638760000000002E-3,6.1310928000000001E-2,0.10100375]
[null,12.614084999999999,2.9552798000000002E-3,6.5529317000000004E-2,9.3220814999999999E-2]
[null,12.726413000000001,2.9236116000000002E-3,6.4831509999999995E-2,9.4583481999999997E-2]
[null,12.803229,2.562328E-3,5.6868150999999999E-2,0.1087605]
[null,12.900698,2.1500292E-3,4.7779969999999998E-2,0.1247535]
[null,13.024971000000001,1.6589769E-3,3.6956005E-2,0.14388455]
[null,13.105383,1.5114855000000001E-3,3.3704921999999998E-2,0.14961796999999999]
[null,13.212599000000001,1.5097483000000001E-3,3.3666640999999997E-2,0.14969294]
[null,13.319815,1.5625386E-3,3.4830313000000002E-2,0.14766306000000001]
[null,13.400226999999999,1.5968183E-3,3.5585950999999998E-2,0.14634356000000001]
[null,13.507444,1.6115902000000001E-3,3.5911575000000001E-2,0.14577609]
[null,13.614660000000001,1.6439311E-3,3.6624476000000003E-2,0.14453199999999999]
[null,13.700431999999999,1.6875536E-3,3.7586056E-2,0.14285327]
[null,13.81837,1.7890708000000001E-3,3.9823826E-2,0.13894628000000001]
[null,13.91272,1.9243499E-3,4.2805821000000001E-2,0.13373943999999999]
[null,14.010019,2.0020423E-3,4.4518407000000003E-2,0.13074770999999999]
[null,14.107317,1.9690576E-3,4.3791315999999997E-2,0.13201565000000001]
[null,14.204616,1.8892982E-3,4.2033155000000003E-2,0.13508248]
[null,14.301914999999999,1.8216485999999999E-3,4.0541936000000001E-2,0.13768674]
[null,14.431646000000001,1.8064114000000001E-3,4.0206064E-2,0.13827587999999999]
[null,14.528945,1.8208556999999999E-3,4.0524464000000003E-2,0.13772117]
[null,14.626243000000001,1.8349881000000001E-3,4.0835992000000002E-2,0.13717784999999999]
[null,14.723542,1.8469876E-3,4.1100501999999997E-2,0.13671641000000001]
[null,14.82084,1.8756544E-3,4.1732412000000003E-2,0.13561289000000001]
[null,14.918139,1.9418185000000001E-3,4.3190882E-2,0.13306572999999999]
[null,15.015437,2.0359879999999999E-3,4.5266676999999998E-2,0.12943711999999999]
[null,15.112736,2.0558160999999998E-3,4.5703753999999999E-2,0.12867337000000001]
[null,15.210035,1.952634E-3,4.3429289000000003E-2,0.13264917000000001]
[null,15.307333,1.8582505E-3,4.1348773999999998E-2,0.13628364000000001]
[null,15.404631999999999,1.8198288E-3,4.0501833000000001E-2,0.13776271000000001]
[null,15.50193,1.8088646000000001E-3,4.0260147000000003E-2,0.13818461000000001]
[null,15.605715999999999,1.8143816999999999E-3,4.0381763000000001E-2,0.13797218]
[null,15.712744000000001,1.8404373E-3,4.0956113000000002E-2,0.13696837000000001]
[null,15.819772,1.8637064E-3,4.1469034000000002E-2,0.13607064999999999]
[null,15.912843000000001,1.8834990000000001E-3,4.1905328999999998E-2,0.13530976]
[null,16.002507000000001,1.8940307999999999E-3,4.2137489E-2,0.13490541]
[null,16.115734,1.8954156000000001E-3,4.2168009999999999E-2,0.13485284]
[null,16.206869000000001,1.9021286000000001E-3,4.2315989999999998E-2,0.13459477]
[null,16.30742,1.9195733E-3,4.2700529000000001E-2,0.13392355]
[null,16.413295000000002,1.9432876999999999E-3,4.3223273E-2,0.13301120999999999]
[null,16.510375,1.9712207999999999E-3,4.3839007999999999E-2,0.13193647999999999]
[null,16.607454000000001,1.9913649000000001E-3,4.4283050999999997E-2,0.13116138999999999]
[null,16.711005,2.0024575999999998E-3,4.4527575E-2,0.13073462]
[null,16.817792000000001,2.0546945999999999E-3,4.5679044000000002E-2,0.12872379]
[null,16.924579000000001,2.2489389000000001E-3,4.9960813999999999E-2,0.12124446999999999]
[null,17.031366999999999,2.4069652000000001E-3,5.3444229000000003E-2,0.1151595]
[null,17.102557999999998,2.4731187000000001E-3,5.490246E-2,0.11261079]
[null,17.209344999999999,2.4194028E-3,5.3718387999999999E-2,0.11467887]
[null,17.316133000000001,2.3248077000000002E-3,5.1633208999999999E-2,0.11832383]
[null,17.422920000000001,2.3513319999999998E-3,5.2217896999999999E-2,0.11730558000000001]
[null,17.529706999999998,2.5518895000000001E-3,5.6638826000000003E-2,0.10957775]
[null,17.626999999999999,2.6720923000000001E-3,5.9288437999999999E-2,0.10492735]
[null,17.715366,2.6110550000000001E-3,5.7942972000000002E-2,0.10727054]
[null,17.822039,2.5526641000000001E-3,5.6655865E-2,0.10952959]
[null,17.902042999999999,2.4612974E-3,5.4641853999999997E-2,0.11305023]
[null,18.011382999999999,2.3339530000000002E-3,5.1834776999999999E-2,0.11795732]
[null,18.128723000000001,2.1411122000000002E-3,4.7583945000000002E-2,0.12538314]
[null,18.216729000000001,2.1099589999999998E-3,4.6897236000000002E-2,0.1265896]
[null,18.304734,2.1127372E-3,4.6958487E-2,0.1264863]
[null,18.422073999999999,2.1465374000000001E-3,4.7703553000000003E-2,0.12518472999999999]
[null,18.502029,2.2400669000000001E-3,4.9765229000000001E-2,0.12157506999999999]
[null,18.603268,2.3189400999999998E-3,5.1503806999999999E-2,0.11851407999999999]
[null,18.712101000000001,2.4173368999999998E-3,5.3672763999999998E-2,0.11471215]
[null,18.823464999999999,2.3698349999999998E-3,5.2625678000000002E-2,0.11654655]
[null,18.906987000000001,2.3567485999999999E-3,5.2337252000000001E-2,0.11707218]
[null,19.005949000000001,2.4068997999999999E-3,5.3442760999999998E-2,0.11514732]
[null,19.112580999999999,2.3741707999999999E-3,5.2721302999999997E-2,0.11640644]
[null,19.202389,2.3296869E-3,5.1740728E-2,0.11811708999999999]
[null,19.322132,2.3496402000000001E-3,5.2180524999999998E-2,0.11732548]
[null,19.411940000000001,2.5673248E-3,5.6978840000000003E-2,0.10886011]
[null,19.501747999999999,2.8178499000000002E-3,6.2501080000000001E-2,9.9137604000000004E-2]
[null,19.608338,3.1250346999999999E-3,6.9271765999999999E-2,8.6954400000000001E-2]
[null,19.711693,2.8423159000000001E-3,6.3039920999999999E-2,9.7943872000000001E-2]
[null,19.805340000000001,2.3176571999999999E-3,5.1475458000000002E-2,0.11852668]
[null,19.901327999999999,2.3400056999999998E-3,5.1968190999999997E-2,0.11772133]
[null,20.004339000000002,2.5862169E-3,5.7395477E-2,0.10823836000000001]
[null,20.107351000000001,2.9228410999999998E-3,6.4815587999999993E-2,9.5185213000000005E-2]
[null,20.212938000000001,2.6622388999999998E-3,5.9071156999999999E-2,0.10526085]
[null,20.323294000000001,2.4350334000000002E-3,5.4062913999999997E-2,0.11406543]
[null,20.424779999999998,2.3882203E-3,5.303099E-2,0.11586022999999999]
[null,20.508506000000001,2.4617326000000001E-3,5.4651350000000001E-2,0.11298285]
[null,20.620141,2.8793031999999998E-3,6.3855857000000002E-2,9.6849642999999999E-2]
[null,20.712240000000001,3.5208358999999998E-3,7.7996567000000003E-2,7.1750334999999998E-2]
[null,20.804338000000001,3.6805094999999999E-3,8.1515490999999995E-2,6.5170579000000006E-2]
[null,20.927136999999998,3.4431904000000002E-3,7.6284907999999998E-2,7.4683487000000007E-2]
[null,21.019235999999999,3.3218826000000002E-3,7.3610596E-2,7.9198009999999999E-2]
[null,21.111333999999999,3.3134230999999998E-3,7.3424569999999995E-2,7.9762026999999999E-2]
[null,21.203433,2.8502264000000001E-3,6.3214846000000005E-2,9.7937040000000003E-2]
[null,21.313278,2.4607716999999999E-3,5.4630249999999998E-2,0.11306236]
[null,21.421444000000001,2.3469291999999998E-3,5.2120834999999997E-2,0.11746914999999999]
[null,21.508505,2.3366823000000002E-3,5.1894969999999999E-2,0.117869]
[null,21.626505999999999,2.4150838E-3,5.3623195999999998E-2,0.11485284]
[null,21.712585000000001,2.4996867999999999E-3,5.5488112999999999E-2,0.11159134]
[null,21.830227000000001,2.4922807000000002E-3,5.5324844999999997E-2,0.11186831]
[null,21.924914000000001,2.5435216000000002E-3,5.6454334000000002E-2,0.1098828]
[null,22.013066999999999,2.6411247000000001E-3,5.8605719000000001E-2,0.10606704]
[null,22.119933,2.6614552000000001E-3,5.9053863999999998E-2,0.10528314]
[null,22.220482000000001,2.5496108000000002E-3,5.6588515999999998E-2,0.10962411]
[null,22.323544999999999,2.5026320999999999E-3,5.5552971E-2,0.11144055]
[null,22.406499,2.5093915999999999E-3,5.5701964E-2,0.11117668]
[null,22.517102999999999,2.5167556000000001E-3,5.5864323E-2,0.11091173]
[null,22.600057,2.5233034999999999E-3,5.6008689E-2,0.11067494999999999]
[null,22.703817000000001,2.5098735999999999E-3,5.5712669999999999E-2,0.1112011]
[null,22.808244999999999,2.5467491000000001E-3,5.6525527999999998E-2,0.10978408000000001]
[null,22.925514,2.7618983000000001E-3,6.1267927E-2,0.1014019]
[null,23.013466000000001,2.735931E-3,6.0695513999999999E-2,0.10239489]
[null,23.101417999999999,2.7605099999999999E-3,6.1237402000000003E-2,0.10149411]
[null,23.218686999999999,2.7312450000000002E-3,6.0592379000000002E-2,0.10265924]
[null,23.306639000000001,2.6816867999999998E-3,5.9499959999999998E-2,0.10457168]
[null,23.423908000000001,2.8996671999999999E-3,6.4304896E-2,9.6145845999999993E-2]
[null,23.508592,3.0867380999999999E-3,6.8428568999999995E-2,8.8959806000000002E-2]
[null,23.620865999999999,3.1565488000000002E-3,6.9967128000000003E-2,8.6112455000000004E-2]
[null,23.715426000000001,3.0765997E-3,6.8204298999999996E-2,8.8924944000000006E-2]
[null,23.809987,3.1878598999999998E-3,7.0656486000000004E-2,8.4457776999999998E-2]
[null,23.904547000000001,3.0761784999999999E-3,6.8194866000000007E-2,8.8861093000000002E-2]
[null,24.030626999999999,2.7463002999999998E-3,6.0924098000000003E-2,0.10200038]
[null,24.120522999999999,3.4783722E-3,7.7060103000000005E-2,7.3154435000000004E-2]
[null,24.201091999999999,3.8488420999999999E-3,8.5225916999999998E-2,5.8600046000000003E-2]
[null,24.308517999999999,3.1747456999999999E-3,7.0367820999999997E-2,8.5182622E-2]
[null,24.415942999999999,2.7031705000000001E-3,5.9973384999999997E-2,0.10366583]
[null,24.523368000000001,2.6459400999999999E-3,5.8711979999999997E-2,0.10594609000000001]
[null,24.609309,2.6417605000000001E-3,5.8619882999999998E-2,0.10612191]
[null,24.727477,2.6259617999999998E-3,5.8271631999999997E-2,0.10673508]
[null,24.816102000000001,2.6100122000000002E-3,5.7920056999999997E-2,0.10735147]
[null,24.904727999999999,2.5913987999999998E-3,5.7509758000000001E-2,0.10806884]
[null,25.022895999999999,2.5703028999999999E-3,5.7044741000000003E-2,0.10888122]
[null,25.111522000000001,2.5577197999999998E-3,5.6767366999999999E-2,0.10936543]
[null,25.200147999999999,2.5719786000000001E-3,5.7081672999999999E-2,0.10881472]
[null,25.318315999999999,2.67308E-3,5.9310242999999999E-2,0.10490513999999999]
[null,25.406942000000001,2.7352219999999998E-3,6.0679995E-2,0.10248029]
[null,25.504429999999999,2.6943800000000001E-3,5.9779733000000002E-2,0.10407022]
[null,25.626121000000001,2.6477368000000002E-3,5.8751613000000001E-2,0.10589137]
[null,25.714003000000002,2.6420203999999998E-3,5.8625624000000001E-2,0.10611995]
[null,25.810673000000001,2.6614764E-3,5.9054501000000002E-2,0.10537197]
[null,25.913581000000001,2.6942458999999999E-3,5.9776797999999999E-2,0.10408441]
[null,26.016487999999999,2.7674073E-3,6.1389397999999998E-2,0.10120606]
[null,26.119395000000001,2.8125411E-3,6.2384237000000002E-2,9.9437981999999994E-2]
[null,26.214354,2.7233105999999998E-3,6.0417455000000002E-2,0.10295358]
[null,26.305337999999999,2.6950442999999998E-3,5.9794404000000002E-2,0.10405911]
[null,26.426651,2.7193556999999999E-3,6.0330267999999999E-2,0.10309902999999999]
[null,26.510076000000002,3.0608694000000001E-3,6.7858241E-2,8.9902393999999997E-2]
[null,26.616271000000001,3.873952E-3,8.5779622E-2,5.7741448000000001E-2]
[null,26.722465,3.8571202E-3,8.5408755000000003E-2,5.8477581000000001E-2]
[null,26.802111,3.2740321000000001E-3,7.2556599999999999E-2,8.1457271999999997E-2]
[null,26.908304999999999,2.8833600000000002E-3,6.3945398000000001E-2,9.6757591000000004E-2]
[null,27.022463999999999,2.7976685999999999E-3,6.2056596999999998E-2,0.10011742999999999]
[null,27.110074000000001,2.7903921000000001E-3,6.1896215999999997E-2,0.10040747999999999]
[null,27.226887999999999,2.7476855999999999E-3,6.0954828000000003E-2,0.10205276000000001]
[null,27.314498,2.7176647000000001E-3,6.0293049000000001E-2,0.10319618999999999]
[null,27.402107999999998,2.8805058000000001E-3,6.3882530000000007E-2,9.6891947000000006E-2]
[null,27.518922,2.9894196999999999E-3,6.6283353000000003E-2,9.2701673999999998E-2]
[null,27.606532000000001,2.9979024999999999E-3,6.6470376999999997E-2,9.2396705999999995E-2]
[null,27.723345999999999,2.9998977999999999E-3,6.6514373000000002E-2,9.2327081000000005E-2]
[null,27.819717000000001,2.9091389999999998E-3,6.4513765000000001E-2,9.5823071999999995E-2]
[null,27.909490000000002,2.8301928999999999E-3,6.2773541000000002E-2,9.8866812999999998E-2]
[null,28.024787,2.7758867999999998E-3,6.1576462999999998E-2,0.10096072]
[null,28.111260000000001,2.7820690999999999E-3,6.1712731E-2,0.10071761999999999]
[null,28.203498,2.9488713000000001E-3,6.5389551000000004E-2,9.4273864999999998E-2]
[null,28.330325999999999,3.0496986999999998E-3,6.7612104000000006E-2,9.0386115000000003E-2]
[null,28.425446000000001,2.8912767000000002E-3,6.4120017000000001E-2,9.6509233E-2]
[null,28.520567,2.7939585999999998E-3,6.197482E-2,0.10026237]
[null,28.615687000000001,2.7608810999999998E-3,6.1245698000000001E-2,0.10154244]
[null,28.710806999999999,2.7339992E-3,6.0653124000000003E-2,0.10257448]
[null,28.805928000000002,2.7205214999999998E-3,6.0355938999999997E-2,0.10304222]
[null,28.901047999999999,2.6868712E-3,5.9614092E-2,0.10429038]
[null,29.015028999999998,2.8160351999999998E-3,6.2461276000000003E-2,9.9311933000000005E-2]
[null,29.124728000000001,2.8326855999999999E-3,6.2828355000000002E-2,9.8698153999999996E-2]
[null,29.207003,2.7825113000000002E-3,6.1722449999999998E-2,0.10068421]
[null,29.316701999999999,2.7282280000000001E-3,6.0525898000000002E-2,0.10278855000000001]
[null,29.416153999999999,2.7087106999999998E-3,6.0095660000000002E-2,0.10353543]
[null,29.512191999999999,2.7211327E-3,6.0369469000000002E-2,0.10304882999999999]
[null,29.615431999999998,2.6960573000000001E-3,5.9816728999999999E-2,0.1040151]
[null,29.721073000000001,2.7006634E-3,5.9918247000000001E-2,0.10382926000000001]
[null,29.800304000000001,2.7009561000000001E-3,5.9924692000000002E-2,0.1038163]
[null,29.905944999999999,2.7075768E-3,6.0070659999999998E-2,0.10357326]
[null,30.014227000000002,2.8198263999999998E-3,6.2545002000000002E-2,9.9251933000000001E-2]

{"sheet":"Output","index":1,"n_rows":302,"n_cols":5,"rows_kept":302,"cut":false,"hidden":false,"merged":[]}
["Time (s)","FED CO","FED CO2","FED O2","FED TOT"]
[0,0,1.052603982532569,0,0]
[0.1,0,1.0488214208915712,5.2389380508472526E-7,5.2389380508472526E-7]
[0.2,0,1.0488214208915712,1.0477876101694505E-6,1.0477876101694505E-6]
[0.3,0,1.0488214208915712,1.5716814152541757E-6,1.5716814152541757E-6]
[0.4,0,1.0488214208915712,2.0955752203389011E-6,2.0955752203389011E-6]
[0.5,0,1.0488214208915712,2.6194690254236264E-6,2.6194690254236264E-6]
[0.6,0,1.0488214208915712,3.1433628305083518E-6,3.1433628305083518E-6]
[0.70000000000000007,0,1.0488214208915712,3.6672566355930772E-6,3.6672566355930772E-6]
[0.8,0,1.0488214208915712,4.1911504406778021E-6,4.1911504406778021E-6]
[0.9,2.8215382808203015E-29,1.0488214208915712,4.7150442457625271E-6,4.7150442457625271E-6]
[1,4.6034409242915178E-28,1.0488214208915712,5.238938050847252E-6,5.238938050847252E-6]
[1.1000000000000001,1.8957946265295596E-26,1.0488214208915712,5.762831855931977E-6,5.762831855931977E-6]
[1.2,2.6032388380856392E-25,1.0488214208915712,6.2867256610167019E-6,6.2867256610167019E-6]
[1.3,2.3987594032266315E-24,1.0488214208915712,6.8106194661014269E-6,6.8106194661014269E-6]
[1.4000000000000001,2.4359116061160284E-23,1.0488214208915712,7.3345132711861518E-6,7.3345132711861518E-6]
[1.5,3.201420370434757E-22,1.0488214208915712,7.8584070762708767E-6,7.8584070762708767E-6]
[1.6,1.0617623712886314E-18,1.0488214208915712,8.3823008813556025E-6,8.3823008813567155E-6]
[1.7000000000000002,4.6358586847094363E-15,1.0488214208915712,8.9061946864403283E-6,8.9061946913025143E-6]
[1.8,2.0728619836867786E-12,1.0488214487347751,9.4300884915250541E-6,9.4300906655871608E-6]
[1.9000000000000001,1.0399142232723715E-9,1.0488327285190615,9.9540102959323415E-6,9.9551009919811781E-6]
[2,2.2924890095284308E-8,1.0490359199595678,1.0478435531404106E-5,1.0502484353250131E-5]
[2.0999999999999996,1.1971518775632543E-7,1.0497226114212699,1.100456500961562E-5,1.1130216795482635E-5]
[2.1999999999999997,7.8659695172727082E-7,1.0546414028866884,1.1543038434851101E-5,1.2372011339831983E-5]
[2.2999999999999994,1.5892242825316789E-5,1.173665606929946,1.2459628822247833E-5,3.1017578759523987E-5]
[2.399999999999999,6.0299970263532848E-5,1.4421471324109836,1.5010415267484665E-5,9.7610841986672667E-5]
[2.4999999999999991,1.3260845072717882E-4,1.7463109051400876,2.1658160004651759E-5,2.3053167469161371E-4]
[2.5999999999999988,2.3592859641905381E-4,2.1536899592359964,4.0665403246957904E-5,4.7205847829731129E-4]
[2.6999999999999988,3.3763904902313737E-4,2.1305139331975553,5.8568604180170438E-5,7.0665721565535346E-4]
[2.7999999999999985,4.0411013752571196E-4,1.6782036973225121,6.3985023067540057E-5,8.236256610327957E-4]
[2.8999999999999981,4.8688882020261908E-4,1.8749727603021407,7.3449449654552532E-5,9.8829786277270372E-4]
[2.9999999999999982,6.1480788199537364E-4,2.5393426954585641,1.1645903157158979E-4,1.356137779863085E-3]
[3.0999999999999979,7.2061631851612882E-4,2.1900174124159792,1.3688251479896041E-4,1.6082835814514203E-3]
[3.1999999999999975,7.9064347409120374E-4,1.7193950368816482,1.43016698371388E-4,1.7348221087665706E-3]
[3.2999999999999976,8.7981467513985811E-4,1.9578345243946114,1.5477751078507484E-4,1.921165377175046E-3]
[3.3999999999999972,9.7279133136700185E-4,2.0087956654486265,1.6807042630934685E-4,2.1212293967163114E-3]
[3.4999999999999973,1.0489836679026107E-3,1.7930558292485046,1.7557284140959069E-4,2.2653489249857927E-3]
[3.599999999999997,1.1345018116675916E-3,1.9100880240866402,1.8581615918071901E-4,2.4389394250045309E-3]
[3.6999999999999966,1.2494270797310833E-3,2.3281084174255358,2.1338459531203768E-4,2.7340663450893506E-3]
[3.7999999999999972,1.3903270227172224E-3,2.7686888862278556,2.7915041698291167E-4,3.1899402729760862E-3]
[3.8999999999999968,1.5392370325878518E-3,2.9200157219534497,3.6482357703342431E-4,3.7104330030050801E-3]
[3.9999999999999964,1.6784565794271326E-3,2.7379197124286208,4.2689740514716411E-4,4.1536787727654663E-3]
[4.0999999999999961,1.7909906711365323E-3,2.2911054877678811,4.5241736091625954E-4,4.4370262036109416E-3]
[4.1999999999999966,1.8734568454669947E-3,1.8710168815378332,4.6171106946299949E-4,4.6006155164858191E-3]
[4.2999999999999963,1.9337681386655959E-3,1.6089947499207899,4.660943653835122E-4,4.7020393665238146E-3]
[4.3999999999999959,1.9838838302667547E-3,1.5001457346323512,4.6918782467724146E-4,4.7803136668111727E-3]
[4.4999999999999956,2.0461695099981817E-3,1.6308831914319792,4.738957411968082E-4,4.886602251471639E-3]
[4.5999999999999952,2.1587614447610226E-3,2.2919720496045968,4.99837281334702E-4,5.1706013590968681E-3]
[4.6999999999999957,2.3173463608002725E-3,3.1134204979351354,6.1957594684862189E-4,5.7840815528707118E-3]
[4.7999999999999954,2.4670040759753428E-3,2.9345394190760885,7.0748400298216527E-4,6.3111660735543605E-3]
[4.899999999999995,2.5851871964082123E-3,2.3794401781803902,7.3815157461780585E-4,6.6230433103307024E-3]
[4.9999999999999947,2.6818609812096395E-3,2.0595036931426538,7.531265571784901E-4,6.8371183097200045E-3]
[5.0999999999999943,2.7638317257384147E-3,1.8647469133396202,7.6226489175602809E-4,6.9991113371417274E-3]
[5.199999999999994,2.8609871638368505E-3,2.0661988918732046,7.7746677096060231E-4,7.2150556748847459E-3]
[5.2999999999999945,2.9930914271392313E-3,2.6112091270470348,8.2697299926426154E-4,7.6095137612454062E-3]
[5.3999999999999941,3.1505092711969643E-3,3.0894504158025637,9.4195303173891741E-4,8.2108284174989676E-3]
[5.4999999999999938,3.3156578428721892E-3,3.2516812623720877,1.0878763100128249E-3,8.8937622117967168E-3]
[5.5999999999999934,3.4709567919587597E-3,3.0464253210695031,1.1926160171675153E-3,9.4716085697842192E-3]
[5.6999999999999931,3.61133751596448E-3,2.7591626699497942,1.2566334972129568E-3,9.9229593030867678E-3]
[5.7999999999999936,3.7371141700741971E-3,2.5033123879751158,1.2961690047775523E-3,1.027735306700228E-2]
[5.8999999999999932,3.8437901268725144E-3,2.2028187950634255,1.3171137428932408E-3,1.0533285607734675E-2]
[5.9999999999999929,3.9406129679453285E-3,2.0615690286107404,1.3322082882221166E-3,1.0747987123481365E-2]
[6.0999999999999925,4.0407057581565336E-3,2.1074623773672587,1.3490589740744023E-3,1.097577959894948E-2]
[6.1999999999999922,4.1252522184078702E-3,1.8975613088951861,1.3590291690173037E-3,1.1146181885669362E-2]
[6.2999999999999918,4.187441875194489E-3,1.6298184941959226,1.3636941487675627E-3,1.125220471819815E-2]
[6.3999999999999924,4.2425372683023797E-3,1.5524469738535602,1.3673540362045098E-3,1.1341397281938713E-2]
[6.499999999999992,4.3055176152963868E-3,1.6386571299942518,1.3721462379108437E-3,1.144939267829629E-2]
[6.5999999999999917,4.3741176960725324E-3,1.7027599239591527,1.377948639632527E-3,1.1572004548343956E-2]
[6.6999999999999913,4.4381031882223419E-3,1.6499567302951421,1.3829072864208864E-3,1.168253648854614E-2]
[6.7999999999999909,4.5044445401100103E-3,1.6767221684090887,1.3882803004419864E-3,1.1799145517959521E-2]
[6.8999999999999915,4.5732686650332933E-3,1.7053636117907474,1.3941234884191093E-3,1.1922358864194151E-2]
[6.9999999999999911,4.6462766130433136E-3,1.754656834859087,1.4008478494731856E-3,1.2057187120223046E-2]
[7.0999999999999908,4.7337405921440501E-3,1.9353921407962971,1.4117906358461863E-3,1.2237407004350383E-2]
[7.1999999999999904,4.8447489207903722E-3,2.2677977900455009,1.4359323882679228E-3,1.2513293199152894E-2]
[7.2999999999999901,4.9781420220926546E-3,2.6337615448622058,1.4867234154164295E-3,1.2915409846861261E-2]
[7.3999999999999906,5.1350854187028026E-3,3.079784459569161,1.598290461300315E-3,1.3510328726657079E-2]
[7.4999999999999902,5.3236757851993577E-3,3.7955059312993891,1.9223284724036861E-3,1.4550162592384048E-2]
[7.5999999999999908,5.5213719302369601E-3,4.0297456173715274,2.3639968516054807E-3,1.5788496145622367E-2]
[7.6999999999999913,5.6991368644399402E-3,3.5342004392302409,2.5895490085199461E-3,1.6642305211076739E-2]
[7.7999999999999918,5.8463702958307696E-3,2.887699760931544,2.670460101105155E-3,1.7148382248290378E-2]
[7.8999999999999924,5.9810727283902609E-3,2.6568264942411903,2.7237309216229175E-3,1.7559534060470932E-2]
[7.9999999999999929,6.1218438598468067E-3,2.7663127320487648,2.7894166587945166E-3,1.8014636770895685E-2]
[8.0999999999999943,6.2654245679760303E-3,2.8184559170375447,2.8619198385468557E-3,1.8491815847047274E-2]
[8.199999999999994,6.4098880220182317E-3,2.8350431084797614,2.9363145342435797E-3,1.8975770662553525E-2]
[8.2999999999999954,6.5490572686525287E-3,2.7369976772215603,2.99848853305586E-3,1.9418850566144549E-2]
[8.399999999999995,6.6650575288926175E-3,2.3449251877195367,3.0270986293133659E-3,1.9719472594421059E-2]
[8.4999999999999964,6.7612769017721128E-3,2.0532098908231688,3.041819315456943E-3,1.993175184864962E-2]
[8.5999999999999979,6.8763882432119703E-3,2.3310061063529579,3.0696531876686101E-3,2.0227910960668075E-2]
[8.6999999999999975,7.0322408909209771E-3,3.0576060151332318,3.177314842909609E-3,2.0812108609018574E-2]
[8.7999999999999989,7.2133134813639555E-3,3.6121876217196252,3.4231619963357939E-3,2.1712023932275594E-2]
[8.8999999999999986,7.3980379696678422E-3,3.700165544021774,3.7010352583617553E-3,2.2673408381060651E-2]
[9,7.5871832127488411E-3,3.809438371716042,4.0252890361406083E-3,2.3718199305659819E-2]
[9.1,7.7854949445359777E-3,4.0460946207325632,4.473623362588372E-3,2.4968921663319675E-2]
[9.2000000000000011,7.9765288864855812E-3,3.8569811154094467,4.8328916738657104E-3,2.6065004281098859E-2]
[9.3000000000000007,8.133581646693356E-3,3.0819649662812267,4.9477630184269813E-3,2.6663906730478259E-2]
[9.4000000000000021,8.2674620046813366E-3,2.6423159545643786,4.9996532512603361E-3,2.7069551169226044E-2]
[9.5000000000000036,8.420844917830933E-3,3.0079606319424941,5.0987801569745712E-3,2.7630047839306917E-2]
[9.6000000000000032,8.5875792832723202E-3,3.2859480807562531,5.2531436893810766E-3,2.8332291839831662E-2]
[9.7000000000000046,8.730556473813671E-3,2.8072079142710407,5.3228985146718229E-3,2.8803413365970323E-2]
[9.8000000000000043,8.8550019473158693E-3,2.4811733269318834,5.3603988213517762E-3,2.9149684462161339E-2]
[9.9000000000000057,8.9950765144356324E-3,2.7535602972460018,5.4234121462902705E-3,2.9598401553774731E-2]
[10.000000000000005,9.1719869679162125E-3,3.5143488824470799,5.6413004403968918E-3,3.0438014902364034E-2]
[10.100000000000007,9.3668759899971348E-3,3.9560461340213431,6.0471325091993704E-3,3.1614836933532946E-2]
[10.200000000000008,9.5532718405563367E-3,3.7410094972885628,6.3547290644702268E-3,3.2619742136000961E-2]
[10.300000000000008,9.7087996098564246E-3,3.0509916161750099,6.463321683656046E-3,3.3202848675403747E-2]
[10.400000000000009,9.8257270700501751E-3,2.3595265986226055,6.4927974082659642E-3,3.3508217852450208E-2]
[10.500000000000009,9.9282596789908844E-3,2.1423466764319117,6.5109274645143919E-3,3.374600830268866E-2]
[10.60000000000001,1.0031328035458071E-2,2.1500776746161856,6.5293789464031804E-3,3.3986064756776929E-2]
[10.70000000000001,1.0142949461834304E-2,2.2771466256539057,6.5538921237335394E-3,3.4264756288530603E-2]
[10.800000000000011,1.0278773428551652E-2,2.6767600463752275,6.6086709380265502E-3,3.4683103270272811E-2]
[10.900000000000013,1.0437255914041996E-2,3.1113630200403031,6.7248994719141695E-3,3.529242834883916E-2]
[11.000000000000012,1.0629247224256193E-2,3.8814717665996308,7.0786381355431582E-3,3.6391375862497029E-2]
[11.100000000000014,1.0846914883157243E-2,4.5940111215365418,7.9041424046524689E-3,3.8216847777396583E-2]
[11.200000000000014,1.1051479138970161E-2,4.2157838092627484,8.4395152764867205E-3,3.9614619326840822E-2]
[11.300000000000015,1.1233778618548088E-2,3.6415185760946738,8.6953621418929469E-3,4.0534313133542457E-2]
[11.400000000000015,1.1390952073654001E-2,3.0845042864254513,8.8065530788377418E-3,4.1130306266473737E-2]
[11.500000000000016,1.1531134244021373E-2,2.7555321038691476,8.8697784722413017E-3,4.157980813071465E-2]
[11.600000000000016,1.1676863284376509E-2,2.8590162363435274,8.9458350208093118E-3,4.207250637176476E-2]
[11.700000000000017,1.1832313581798459E-2,3.0494564975223151,9.0524840590960852E-3,4.2653194329566671E-2]
[11.800000000000018,1.1986664768516304E-2,3.02726429930367,9.1583627795181356E-3,4.3226334887094806E-2]
[11.900000000000018,1.2157374931012476E-2,3.3733589215164415,9.3397463666628384E-3,4.3983585123889488E-2]
[12.00000000000002,1.2349930853292179E-2,3.8959009652817933,9.7021626986956485E-3,4.509618025940252E-2]
[12.100000000000019,1.2539575066841745E-2,3.8219946256761808,1.0028529209880838E-2,4.6147365935564739E-2]
[12.200000000000021,1.2711571519298592E-2,3.4022173423205673,1.0211346140472826E-2,4.6915352179523029E-2]
[12.30000000000002,1.2860710741688973E-2,2.924474231324484,1.0297089930238052E-2,4.7437249782048697E-2]
[12.400000000000022,1.3003284328174509E-2,2.7996935022107272,1.0365678840714524E-2,4.7905001036195605E-2]
[12.500000000000021,1.3161317663665109E-2,3.1021198606653626,1.048027575077946E-2,4.8509836294933127E-2]
[12.600000000000023,1.3335787645383713E-2,3.4582192165918753,1.068002319144435E-2,4.9312939179095724E-2]
[12.700000000000024,1.3515785466305595E-2,3.5866432100951311,1.0921353426740867E-2,5.0199857376633628E-2]
[12.800000000000024,1.368454270280115E-2,3.3301715971619998,1.1086863996358947E-2,5.0927358502044752E-2]
[12.900000000000025,1.3828671004348491E-2,2.828754298869137,1.115974919209335E-2,5.1407947250369908E-2]
[13.000000000000025,1.3947006055629185E-2,2.3818601336377276,1.1190571457887478E-2,5.1720627057221497E-2]
[13.100000000000026,1.4045601050614679E-2,2.0863355831702242,1.1206437279963901E-2,5.194219512565864E-2]
[13.200000000000026,1.4136490852123037E-2,1.9807176942515221,1.1218665997594194E-2,5.2134450881363543E-2]
[13.300000000000027,1.4228356937515282E-2,1.9938156487271339,1.1231296032736263E-2,5.2330244955147973E-2]
[13.400000000000029,1.4322920700613131E-2,2.0304335662422854,1.1245116802873498E-2,5.2536071164029266E-2]
[13.500000000000028,1.441928242493227E-2,2.0551909542771321,1.1259792399288706E-2,5.2748788504603718E-2]
[13.60000000000003,1.4516976281280939E-2,2.0737179988526426,1.1275134577288412E-2,5.2966720190890985E-2]
[13.700000000000029,1.4617061825924309E-2,2.1073786919842736,1.1291750432849176E-2,5.3194254190608824E-2]
[13.800000000000031,1.4721318955643612E-2,2.1673336164573325,1.1310843663590092E-2,5.3439307403345737E-2]
[13.900000000000031,1.4832412100964592E-2,2.2691028891628719,1.1334810770141418E-2,5.3715356286911091E-2]
[14.000000000000032,1.4950418788067967E-2,2.3766502608992157,1.1364959926609564E-2,5.4025966067071322E-2]
[14.100000000000033,1.5070476951183314E-2,2.4094886700539706,1.1397232798443535E-2,5.4347517722679213E-2]
[14.200000000000033,1.5187369967654239E-2,2.3590027529377755,1.1426294878733E-2,5.4652330750622792E-2]
[14.300000000000034,1.5299611052387937E-2,2.286632269413039,1.1451201264605191E-2,5.4933891222800978E-2]
[14.400000000000034,1.540925742528375E-2,2.2471916289851772,1.1474049052518927E-2,5.5203135422034769E-2]
[14.500000000000036,1.5518703034155125E-2,2.244167236124639,1.1496742705863164E-2,5.5471443324945857E-2]
[14.600000000000035,1.5628806763022324E-2,2.2540964532105101,1.1519936742766494E-2,5.5742821786573998E-2]
[14.700000000000037,1.5739771352626761E-2,2.2671476646422972,1.1543802978497416E-2,5.6018261132484606E-2]
[14.800000000000036,1.5851935349499056E-2,2.2854515251992087,1.1568638963046798E-2,5.6299442494758212E-2]
[14.900000000000038,1.5966772675364709E-2,2.3267569757718873,1.1595780230453587E-2,5.65937823112019E-2]
[15.000000000000037,1.6086358855212014E-2,2.4018953115260882,1.162755392885508E-2,5.6912789494301945E-2]
[15.100000000000035,1.6209827671151016E-2,2.4650469099143444,1.1663692271863034E-2,5.7253284260511121E-2]
[15.200000000000035,1.6331483183710926E-2,2.4353579998744483,1.1697722335563241E-2,5.7583589049952935E-2]
[15.300000000000033,1.6447248906686765E-2,2.341267526976397,1.1725712748482569E-2,5.788261799081254E-2]
[15.400000000000032,1.6558581396925825E-2,2.2727472472359209,1.1749871008306625E-2,5.8159806861355343E-2]
[15.500000000000032,1.6668153720843362E-2,2.2460760360542054,1.1772656644682781E-2,5.8428700268697446E-2]
[15.60000000000003,1.6777489059545403E-2,2.2425079809743078,1.179526360058618E-2,5.86964925942427E-2]
[15.700000000000029,1.6887707791435867E-2,2.2558360437284635,1.1818544726402197E-2,5.8968409108151265E-2]
[15.800000000000029,1.6999344390762974E-2,2.2773857249028922,1.1842950566450751E-2,5.9247054545884074E-2]
[15.900000000000027,1.7112340111349888E-2,2.2982267161802246,1.1868484216786228E-2,5.953227798008643E-2]
[16.000000000000025,1.7226410457691372E-2,2.3148340848719542,1.1894944137481182E-2,5.9822791826565795E-2]
[16.100000000000026,1.7340933422169209E-2,2.3218630922981274,1.1921803263800802E-2,6.0115557597327077E-2]
[16.200000000000024,1.7455703343925988E-2,2.3257068059977772,1.1948882656263636E-2,6.0409558177943488E-2]
[16.300000000000022,1.7571195577677994E-2,2.336984134777929,1.1976618448780004E-2,6.0707197488428351E-2]
[16.400000000000023,1.768789981994133E-2,2.3560243555568183,1.2005491589517669E-2,6.1011028666335239E-2]
[16.500000000000021,1.7806169549977189E-2,2.3808370035526223,1.2035902422083451E-2,6.1323020448570568E-2]
[16.600000000000019,1.7925991650338841E-2,2.4056883280395738,1.2067918250060709E-2,6.1643290904829035E-2]
[16.700000000000021,1.8046850231756083E-2,2.4224190362701217,1.2101052158028784E-2,6.1969194941118841E-2]
[16.800000000000018,1.8169471531605801E-2,2.4511283985924108,1.2136177872418316E-2,6.2304881205842329E-2]
[16.900000000000016,1.8298468723347287E-2,2.557718684563552,1.2179554098981374E-2,6.2678195959978811E-2]
[17.000000000000018,1.8437369494612235E-2,2.7321565878652536,1.2239709710818759E-2,6.3117850229087294E-2]
[17.100000000000016,1.8584680516202767E-2,2.8892292437364562,1.2319074281861605E-2,6.3622830111634193E-2]
[17.200000000000014,1.8733999651282522E-2,2.9280010845622799,1.2403863965797122E-2,6.4144826385029136E-2]
[17.300000000000011,1.8879160426670018E-2,2.8482620354408801,1.2477804584578938E-2,6.463222292938231E-2]
[17.400000000000013,1.9021844614140075E-2,2.8017712933422958,1.2545943866277385E-2,6.510013067154824E-2]
[17.500000000000011,1.9169485623066786E-2,2.8955665620557522,1.2626164884795016E-2,6.560785605870223E-2]
[17.600000000000009,1.9326395761088723E-2,3.0791533839954477,1.2735023937782445E-2,6.619986549416311E-2]
[17.70000000000001,1.9487283012011143E-2,3.1613269755870839,1.285916202903244E-2,6.6832620791782205E-2]
[17.800000000000008,1.96458259107791E-2,3.1126347336406783,1.2974121587794745E-2,6.7441066484021719E-2]
[17.900000000000006,1.9799366594402793E-2,3.0111516263233877,1.3071631574859398E-2,6.8000910750286664E-2]
[18.000000000000007,1.9946031718201369E-2,2.8768626223257741,1.3149389281740215E-2,6.8500603869822388E-2]
[18.100000000000005,2.0084010483581431E-2,2.715444561652824,1.3207786033378703E-2,6.8933674309535731E-2]
[18.200000000000003,2.0214705253981793E-2,2.5868383508415302,1.3253691652999508E-2,6.9317666173482617E-2]
[18.300000000000004,2.0343018533816634E-2,2.5460754141749193,1.3296109687740157E-2,6.9686779495322898E-2]
[18.400000000000002,2.0472095761831732E-2,2.5590843955730027,1.3339607127236242E-2,7.0060596454856239E-2]
[18.5,2.0605108876501965E-2,2.6271227206604091,1.3389157118047666E-2,7.0459588221363639E-2]
[18.600000000000001,2.0743672655385487E-2,2.726035309927735,1.3448720010535861E-2,7.0896880867765327E-2]
[18.7,2.0887557721079211E-2,2.8242183137407806,1.3519770525135082E-2,7.137429421997056E-2]
[18.799999999999997,2.1033445929500814E-2,2.8620538140301264,1.3595685824382798E-2,7.1867749422553348E-2]
[18.899999999999999,2.1177801210794805E-2,2.8330569911262584,1.3667817870058848E-2,7.2348848207105326E-2]
[18.999999999999996,2.1322915454100203E-2,2.8473800336949662,1.3741718210351053E-2,7.2835943946390078E-2]
[19.099999999999994,2.146866715764385E-2,2.8594631024286525,1.3817171685232034E-2,7.3328169039670238E-2]
[19.199999999999992,2.1612113907614691E-2,2.8160059875292771,1.3887115011583205E-2,7.3802059272830914E-2]
[19.299999999999994,2.1754548348885763E-2,2.7971210257183263,1.3954803066020866E-2,7.4268153697734332E-2]
[19.399999999999991,2.1903535362102891E-2,2.9215466503882279,1.4039006166999421E-2,7.4787629308128739E-2]
[19.499999999999989,2.2067305438529809E-2,3.2221987729620145,1.4176440394879898E-2,7.5452763275319926E-2]
[19.599999999999991,2.2248946212425378E-2,3.6257517527011656,1.4425889668028007E-2,7.6360796902781886E-2]
[19.699999999999989,2.2432538755253993E-2,3.6726733817489627,1.4693669325128686E-2,7.7302852005016826E-2]
[19.799999999999986,2.2592205395714528E-2,3.1358554203909264,1.4814589941561113E-2,7.7924464121393033E-2]
[19.899999999999988,2.2734969524169389E-2,2.8032549075707833,1.4883120059407376E-2,7.8393198482955451E-2]
[19.999999999999986,2.288494281930812E-2,2.9407376802969427,1.4969831305228989E-2,7.892094184882982E-2]
[20.099999999999984,2.3052624013336999E-2,3.3066317724803698,1.5125263501943721E-2,7.9630834009367893E-2]
[20.199999999999985,2.3224061267580386E-2,3.3897184454776568,1.5301305334161847E-2,8.0387999864536874E-2]
[20.299999999999983,2.3382311769283706E-2,3.1066100282533915,1.5415315155624104E-2,8.0993632281566807E-2]
[20.399999999999981,2.3531245281003917E-2,2.9205147488997802,1.5499129098049947E-2,8.1512408741576961E-2]
[20.499999999999979,2.3679271069104287E-2,2.9029684160977092,1.5580560216751691E-2,8.2023554047902042E-2]
[20.59999999999998,2.3840089458263661E-2,3.1598790654340698,1.5704850680502574E-2,8.2656011172894464E-2]
[20.699999999999978,2.4032099565054713E-2,3.8819912396481024,1.6053381871217871E-2,8.3749923916096522E-2]
[20.799999999999976,2.4251881480526691E-2,4.6580818657270902,1.6932820894947766E-2,8.5653125094701216E-2]
[20.899999999999977,2.4473587433377669E-2,4.7171142515875699,1.7873793013074693E-2,8.7639909522683301E-2]
[20.999999999999975,2.468486418982169E-2,4.4055890301971319,1.8540265834010115E-2,8.9237180904144134E-2]
[21.099999999999973,2.4890348615327684E-2,4.2413320106350225,1.9090306736846689E-2,9.0658749478566239E-2]
[21.199999999999974,2.5080523149743118E-2,3.8353787746617525,1.941957473951015E-2,9.1717408854007837E-2]
[21.299999999999972,2.5245053690524277E-2,3.2384542708327393,1.9560081291383976E-2,9.2390740038356831E-2]
[21.39999999999997,2.5393819865326909E-2,2.9172726811458016,1.9643442564919129E-2,9.2908092809522266E-2]
[21.499999999999972,2.5537212312048047E-2,2.8149913780767668,1.9713204886262138E-2,9.3381503632066612E-2]
[21.599999999999969,2.5681487696877468E-2,2.831557062114467,1.9785002642799223E-2,9.3861825373406718E-2]
[21.699999999999967,2.5830489076791578E-2,2.921833247241473,1.9868885451548149E-2,9.4381065367873551E-2]
[21.799999999999969,2.5982547719473243E-2,2.9817051731456869,1.9961664152878929E-2,9.4927238110709758E-2]
[21.899999999999967,2.6135957576342586E-2,3.0085417447351159,2.0058703532153319E-2,9.5485817448429405E-2]
[21.999999999999964,2.6293559968782007E-2,3.0933031516682048,2.0170263038807916E-2,9.608488893232732E-2]
[22.099999999999966,2.6455205095428196E-2,3.1772195019952885,2.0297863840490635E-2,9.6726071782792813E-2]
[22.199999999999964,2.661513089617408E-2,3.1412647268540921,2.0418407550821922E-2,9.7348984769921043E-2]
[22.299999999999962,2.6770487748157327E-2,3.0476196575779206,2.0522046620304376E-2,9.792609243544706E-2]
[22.399999999999959,2.6923834458684723E-2,3.0072794907366176,2.0619032143721669E-2,9.8484234376405314E-2]
[22.499999999999961,2.7077252419015634E-2,3.0087011869961131,2.0716208698727138E-2,9.9042999730764913E-2]
[22.599999999999959,2.723112709244143E-2,3.0178271857001957,2.0814765196123255E-2,9.9605923400816143E-2]
[22.699999999999957,2.7384835700842377E-2,3.0145079538659694,2.0912714080562549E-2,0.10016722810785776]
[22.799999999999958,2.7539194105048952E-2,3.027522498093425,2.1012745356595253E-2,0.10073458292539567]
[22.899999999999956,2.7700034555560766E-2,3.1603467546526698,2.113674750920369E-2,0.10136689667379599]
[22.999999999999954,2.7867091636939831E-2,3.2930155392064315,2.1289212147011582E-2,0.10206948287651961]
[23.099999999999955,2.803557744357299E-2,3.3242619449462207,2.1448911128605593E-2,0.1027892728133678]
[23.199999999999953,2.8203936358886326E-2,3.3214799685584628,2.1607618377199139E-2,0.10350718082670284]
[23.299999999999951,2.8369925645902037E-2,3.2698576014203833,2.1754298873536238E-2,0.10419662265494262]
[23.399999999999952,2.8539701204945724E-2,3.3527206930783788,2.192042125709371E-2,0.10493195506848481]
[23.49999999999995,2.8721628549960351E-2,3.6326496871532061,2.2167736094616541E-2,0.10584014821895964]
[23.599999999999948,2.8912739394596043E-2,3.8591178299715256,2.2502577358972466E-2,0.10691250875135008]
[23.699999999999946,2.9104547858095419E-2,3.8768460004856169,2.2848657831627879E-2,0.10800220109858234]
[23.799999999999947,2.9297393616848577E-2,3.9033596808299462,2.3211111587278073E-2,0.10911740121356867]
[23.899999999999945,2.9489981318705845E-2,3.8967304648486225,2.3571776677673847E-2,0.11022852866894685]
[23.999999999999943,2.96714312829644E-2,3.6211939146942043,2.3819723804385528E-2,0.11113354130205309]
[24.099999999999945,2.9860194763399784E-2,3.799915524953843,2.4135101615105483E-2,0.11216620439262377]
[24.199999999999942,3.0081466251868815E-2,4.7037131034699762,2.5064071863717289E-2,0.11413597224097166]
[24.29999999999994,3.0300077623184474E-2,4.6225033503042763,2.5913049454284152E-2,0.11599548162785978]
[24.399999999999942,3.0484499339687839E-2,3.6928181954186909,2.6185279244892473E-2,0.11694874728880207]
[24.49999999999994,3.0650812514045458E-2,3.2768596950873596,2.6334066194162852E-2,0.11764251917588697]
[24.599999999999937,3.0812973677361799E-2,3.1880952807594731,2.6463432982192676E-2,0.1182888712034081]
[24.699999999999939,3.097422359299808E-2,3.1689281172857271,2.6588870273444712E-2,0.11892529788622989]
[24.799999999999937,3.1134545038877432E-2,3.1495116802439616,2.6710516538785454E-2,0.11955187841796125]
[24.899999999999935,3.1293686693298413E-2,3.1250052420786156,2.6827530067094759E-2,0.12016621045056917]
[24.999999999999936,3.1451608454389192E-2,3.0998596997774048,2.6939946768395041E-2,0.12076816245479265]
[25.099999999999934,3.1608484243226181E-2,3.0784550030603017,2.7048568442015565E-2,0.12135971918541742]
[25.199999999999932,3.1765282926518756E-2,3.076882637119871,2.7156921146760094E-2,0.12195052303630813]
[25.299999999999933,3.1925186784079573E-2,3.140815749345867,2.7276953137358676E-2,0.12257278358111488]
[25.399999999999931,3.2090111275743113E-2,3.2469130302781535,2.741864921304063E-2,0.12324997513779119]
[25.499999999999929,3.2256267232118954E-2,3.2734612145931079,2.7566254180374068E-2,0.12394148518389456]
[25.599999999999927,3.2420120610949343E-2,3.2239910664090998,2.7702999917323418E-2,0.12460649275039401]
[25.699999999999928,3.2582284228837216E-2,3.1881489053164924,2.7832258281376702E-2,0.12525275287529866]
[25.799999999999926,3.2744497910003646E-2,3.1892062936757681,2.7961676962118539E-2,0.1258995044489368]
[25.899999999999924,3.2908201160418885E-2,3.2207926149973698,2.8097647881242298E-2,0.12656272958804901]
[25.999999999999925,3.3074960365498347E-2,3.2865426214894602,2.8248258611476108E-2,0.12726140155330218]
[26.099999999999923,3.3245341190157089E-2,3.3661473524420931,2.8418249147033812E-2,0.12800491905069181]
[26.199999999999921,3.3415122426536742E-2,3.3528410629822138,2.8584809837664437E-2,0.12874072924238003]
[26.299999999999923,3.3581497611494038E-2,3.2782104032249584,2.8733421676683503E-2,0.12943475394356457]
[26.39999999999992,3.3747150086917282E-2,3.2625827955186018,2.8878513613169184E-2,0.13012030079640122]
[26.499999999999918,3.3923055634939629E-2,3.4912069161598862,2.9081840091144458E-2,0.130937749940223]
[26.59999999999992,3.4131970307098775E-2,4.3379035567083646,2.9691021538589366E-2,0.13245318308707563]
[26.699999999999918,3.4367835356387225E-2,5.1747036686662762,3.1182950925028343E-2,0.13516564420937768]
[26.799999999999915,3.4588950001238093E-2,4.6989228365235247,3.2096182441517664E-2,0.13711787638004652]
[26.899999999999913,3.4779807983569007E-2,3.8526868924847206,3.2430313090096342E-2,0.1381873230754776]
[26.999999999999915,3.4955548486843221E-2,3.4874071831935312,3.2632484062581922E-2,0.13900237274145971]
[27.099999999999913,3.5127391235135939E-2,3.398819584866517,3.2810017628729975E-2,0.13976396880602235]
[27.19999999999991,3.5297423616316631E-2,3.3584183919173523,3.2977232562975842E-2,0.14050222361644696]
[27.299999999999912,3.5465278792536234E-2,3.3104447963134551,3.3132973388079912E-2,0.14121363973620149]
[27.39999999999991,3.5636913868873465E-2,3.3941592509751088,3.3309454621546157E-2,0.14197267775180958]
[27.499999999999908,3.5816467260485076E-2,3.5762382291297139,3.3538319350925674E-2,0.14284366818444044]
[27.599999999999909,3.5999860579602395E-2,3.6679170648908213,3.3797618984554495E-2,0.14377563930284665]
[27.699999999999907,3.6184136355328023E-2,3.6893074964737256,3.4064298876049441E-2,0.14472216919514463]
[27.799999999999905,3.6366198050662518E-2,3.6358717608828814,3.4312307401997137E-2,0.14563213069789749]
[27.899999999999906,3.6543140172801455E-2,3.5151737058349775,3.4522065196866146E-2,0.14646387078796391]
[27.999999999999904,3.6715628942297872E-2,3.4133513236295165,3.4703351791462611E-2,0.14723392215223219]
[28.099999999999902,3.6886298877823298E-2,3.3725926190739188,3.4874164085395822E-2,0.14798033461101626]
[28.199999999999903,3.7061892099578525E-2,3.4840236211075175,3.5074973870187848E-2,0.14879291532810987]
[28.299999999999901,3.7245256385205268E-2,3.6672152271658902,3.5334035013765197E-2,0.149724412772056]
[28.399999999999899,3.7428337753588774E-2,3.6603855652541291,3.5590638960396458E-2,0.15065116511678522]
[28.499999999999901,3.7604720756189307E-2,3.5022293712260133,3.5796640737752308E-2,0.15147490062643371]
[28.599999999999898,3.7775787941111527E-2,3.381454528913967,3.5969670122199836E-2,0.15222638591808504]
[28.699999999999896,3.794438067113045E-2,3.3266215465326763,3.6129209346808765E-2,0.15294676935096368]
[28.799999999999894,3.8111546240332916E-2,3.2953858806626175,3.6281666397640536E-2,0.1536501014582782]
[28.899999999999896,3.8277131662707173E-2,3.2611309616980262,3.642681514310192E-2,0.15433524595145012]
[28.999999999999893,3.8445180341443203E-2,3.3146698509674302,3.6584400303712336E-2,0.15504985700096177]
[29.099999999999891,3.8617727441189638E-2,3.4146556126793444,3.6766918377518991E-2,0.15582156399736913]
[29.199999999999893,3.8789886343555291E-2,3.4059178363305498,3.6946761644293426E-2,0.15658776634039381]
[29.299999999999891,3.8959110215836763E-2,3.3405228477560636,3.7109807460054954E-2,0.15731610836789736]
[29.399999999999888,3.9125957212962047E-2,3.2884545486031449,3.7260578071860395E-2,0.15801554774632021]
[29.49999999999989,3.929226689990719E-2,3.2767927361788187,3.7408755962877412E-2,0.15870868801147522]
[29.599999999999888,3.9458193544470652E-2,3.2685036995085643,3.7555118496218315E-2,0.15939738239641885]
[29.699999999999886,3.9623491828765262E-2,3.2549501994287517,3.7698524818556713E-2,0.16007882640218721]
[29.799999999999887,3.9788826569531574E-2,3.255734363821583,3.7842141601982182E-2,0.1607607291826591]
[29.899999999999885,3.9954397903321948E-2,3.2608327081630284,3.7986845873904947E-2,0.16144533387533969]
[29.999999999999883,4.0123272873139645E-2,3.3328298717278377,3.8148038737011544E-2,0.16216935828244186]

{"sheet":"Background","index":2,"n_rows":1,"n_cols":2,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
[null,"FED calculation description from Pathfinder Technical Reference."]

{"sheet":"Release Notes","index":3,"n_rows":5,"n_cols":2,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
["Version 1_02 Changes:"]
[null,"Changed test on FED oxygen calculation so set to zero if O2 volume fraction > 20.9% (original test was 20%)"]
[]
["Version 1_03 Changes:"]
[null,"Added capability to define the Hypoxia FED Threshold. In SFPE Handbook, this is defined as 20.9%. OSHA defines that value as 19.5%."]