## Release Notes
Version 1 Released: | 3.24.2025 | A Bjork
1.1 | 3.25.2025 | A Bjork | changed default dP minimum to 24.88 Pa AND SI air density from 1.16 kg/m3 to 1.195 kg/m3 in column L of "Ventus-results-table"
1.2 | 4.14.2025 | A Bjork | added "results-table" with example organization of report data AND changed file name to "seasonal-scenarios-EN_1.2"
This software is provided as is, and no claim is made as to the accuracy or suitability of this software. The user takes full and exclusive responsibility for using this software.
Please report any errors to: support@thunderheadeng.com

## Schedules-SI
copy/paste these schedules in for the stairwells
| time | Stair temp ( C) | Building temp ( C) | Ambient Data Set (C)
| 0h | -13.3 | 22.8 | -20
| 1h | 22.8 | 22.8 | 22.8
| 2h | 31.7 | 22.8 | 40.6
| 3h | 31.7 | 22.8 | 40.6
rectangular OR trapezoidal
Taking static data:
| setting | time (h) | Ambient data set (C)
| Low | 0.5 | -20
| isothermal | 1.5 | 22.8
| high | 2.5 | 40.6
NOTE
do NOT vary density

## Ventus-results-table
Data Set | Time (s) | Name | Elevation | dP | FlowO (kg/s) | empty column | min dP req | max dP req | empty column2 | door leakage area (m2) | computed air V (m/s) | min air v req (m/s) | max air v req | x
paste data here! | [6 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
[7 empty] | 24.9 | 87.9 |  | 0.015794 | 0 | 2
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
NOTES
The table contains results Path Data from Ventus for doors between the pressurized stairwell and the condo building. When you re-run the Ventus model, you can quickly copy/paste relvant data into this table. See the tutorial for more information on exporting desired data.
Using this spreadsheet:
1. Use the Data slicers in Excel to filter data for each temperature scenario, or "Data Set", and filter to the appropriate time for the scheduled zone temperatures, "Time (s)". The scatter plots will update to display only selected data.
2. Enter your acceptance criteria minimum and maximum pressure values. These boundaries will appear on the dP plot.
For example, a range of 0.10 < dP < 0.35 in WC (24.9<dP<87.1 Pa)
3. If air velocity is desired, enter the area of the door leakage area and compute the air velocity from the flow rate and the leakage area. Add your velocity acceptance criteria.
For example, a range of V > 6.56 ft/s (2 m/s)is applied here. We assume standard temperature air density for the computation of V, in ft/s (from SCFM).

## results-plots
setting | time (h) | Ambient data set ( C) | Results Plot
Low | 0.5 | -20 | #VALUE!
isothermal | 1.5 | 22.8 | #VALUE!
high | 2.5 | 40.6 | #VALUE!

## results-table
Outdoor Temperature (C ) | Wind Speed (kph) | Wind Direction (0=North) | Stair 1 |  | Stair 2 |  | MEP Shaft |  | Required supply Capacities (kg/s)
|  |  | Minimum Pressure (Pa) | Maximum Pressure (Pa) | Minimum Pressure (Pa) | Maximum Pressure (Pa) | Minimum Pressure (Pa) | Maximum Pressure (Pa) | Stair1 | Stair 2 | MEP Shaft
22 | 0 | N/A | [6 empty] | 1,42 | 1,42 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270
-20 | 0 | N/A | [6 empty] | 1,42 | 1,42 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270
41 | 0 | N/A | [6 empty] | 1,42 | 1,42 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270
22 | 0 | N/A | [6 empty] | 1,88 | 1,88 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270
-20 | 0 | N/A | [6 empty] | 1,88 | 1,88 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270
41 | 0 | N/A | [6 empty] | 1,88 | 1,88 | N/A
| 30 | 0
| 30 | 90
| 30 | 180
| 30 | 270